## Rebates - Clean
Source(Type) | Organization | Area | Measure Type | Sub Type | Amount | Requirements | website for more details
Utility | *Tri-State members with the default rebates shown above include: Empire Electric Highline Electric K.C. Electric Morgan County Rural Electric Mountain Parks Electric Southeast Colorado Power White River Electric | rebates shown below are more/different than Tri-State default rebates (see above) |  |  |  | all Tri-State members have the same requirements for HP rebates.
Utility | Black Hills Energy (electric customers) | Pueblo area | Energy Efficiency Improvements | air sealing | 50% of total cost, up to $500 | 30% ACH reduction, blower door test required | https://www.blackhillsenergy.com/sites/blackhillsenergy.com/files/COE_EE_2024_Residential_Rebate.pdf
Utility | Black Hills Energy (electric customers) | Pueblo area | Heat Pump | Ducted ASHP Tier 1 | 800 | SEER 16+, EER 12.5+, HSPF 8.5+; must use ACCA-accredited contractor | https://www.blackhillsenergy.com/sites/blackhillsenergy.com/files/COE_EE_2024_Residential_Rebate.pdf | Note: if these are the only utilities (the three above) that require using their approved contractors, we can write the contractor search to show theirs, or use the LE search..
Utility | Black Hills Energy (electric customers) | Pueblo area | Heat Pump | Ducted ASHP Tier 2 | 1050 | SEER 17+, EER 12.5+, HSPF 8.6+; must use ACCA-accredited contractor | https://www.blackhillsenergy.com/sites/blackhillsenergy.com/files/COE_EE_2024_Residential_Rebate.pdf
Utility | Black Hills Energy (electric customers) | Pueblo area | Heat Pump | Ductless HP | 500 | SEER 20+, HSPF 9.0+ | https://www.blackhillsenergy.com/sites/blackhillsenergy.com/files/COE_EE_2024_Residential_Rebate.pdf
Utility | Black Hills Energy (electric customers) | Pueblo area | Energy Efficiency Improvements | insulation | $.50/sq.ft., up to $500 | min. R values - see website | https://www.blackhillsenergy.com/sites/blackhillsenergy.com/files/COE_EE_2024_Residential_Rebate.pdf
Utility | Black Hills Energy (electric customers) | Pueblo area | Heat Pump Water Heater |  | 500 | Energy Star-rated
Government | Boulder County | Boulder County, in addition to Xcel Energy incentives | Energy Efficiency Improvements | insulation and air sealing | $100 each for attic, wall, and basement (or crawl space) insulation with air sealing | Min R value of R-49 in attics, R-19 or fill cavity in walls, R-15 continous or R-19 cavity in basement/crawl Blower door and CAZ testing required. Exterior top plate air sealing required in attics, sealed vapor barrier required in crawlspaces | https://energysmartyes.com/rebates-financing/boco-rebates/
Government | Boulder County | Boulder County, in addition to Xcel Energy incentives | Heat Pump | Tier 1 ASHP | 25% of project cost, up to $100 |  | https://energysmartyes.com/rebates-financing/boco-rebates/
Government | Boulder County | Boulder County, in addition to Xcel Energy incentives | Heat Pump | Tier 2 ASHP | 25% of project cost, up to $300 |  | https://energysmartyes.com/rebates-financing/boco-rebates/
Government | Boulder County | Boulder County, in addition to Xcel Energy incentives | Heat Pump Water Heater |  | 100 | Energy Star rated | https://energysmartyes.com/rebates-financing/boco-rebates/
Government | Boulder County |  | Induction Cooking |  | 100 | must be replacing gas stove
Government | City and County of Denver | Denver, in addition to Xcel incentives | Energy Efficiency Improvements | energy audit
Government | City and County of Denver | Denver, in addition to Xcel incentives | Energy Efficiency Improvements | insulation and air sealing
Government | City and County of Denver | Denver, in addition to Xcel incentives | Heat Pump | Tier 1 ASHP | 40% of project cost, up to $1500
Government | City and County of Denver | Denver, in addition to Xcel incentives | Heat Pump | Tier 2 ASHP | 40% of project cost, up to $3,500
Government | City and County of Denver | Denver, in addition to Xcel incentives | Heat Pump Water Heater |  | 60% of project cost,up to $1,000 | same as for Xcel Energy
Government | City and County of Denver | Denver, in addition to Xcel incentives | Heat Pump Water Heater |  | 60$ of project cost, up to $1,750 | same as for Xcel, grid-connected
Utility | City of Aspen Electric (same rebates as for CORE) | Aspen |  | see information for CORE below
Government | City of Boulder | Boulder, in addition to Xcel and Boulder County incentives | Energy Efficiency Improvements | insulation and air sealing | $250 each for attic, wall, and basement (or crawl space) insulation with air sealing | Min R value of R-49 in attics, R-19 or fill cavity in walls, R-15 continous or R-19 cavity in basement/crawl Blower door and CAZ testing required. Exterior top plate air sealing required in attics, sealed vapor barrier required in crawlspaces | https://energysmartyes.com/rebates-financing/city-of-boulder/#1698351102651-27b71356-2276
Government | City of Boulder | Boulder, in addition to Xcel and Boulder County incentives | Heat Pump | Tier 1 ASHP | 250 |  | https://energysmartyes.com/rebates-financing/city-of-boulder/#1698351102651-27b71356-2276
Government | City of Boulder | Boulder, in addition to Xcel and Boulder County incentives | Heat Pump | Tier 2 ASHP | 400 |  | https://energysmartyes.com/rebates-financing/city-of-boulder/#1698351102651-27b71356-2276
Government | City of Boulder | Boulder, in addition to Xcel and Boulder County incentives | Heat Pump Water Heater |  | 250 | Energy Star rated | https://energysmartyes.com/rebates-financing/city-of-boulder/#1698351102651-27b71356-2276
Government | City of Boulder |  | Induction Cooking |  | 200 | must be replacing gas stove
Government | City of Louisville | Louisville, in addition to Xcel and Boulder County incentives | Energy Efficiency Improvements | insulation and air sealing | $250 each for attic, wall, and basement (or crawl space) insulation with air sealing | Min R value of R-49 in attics, R-19 or fill cavity in walls Blower door and CAZ testing required. Exterior top plate air sealing required in attics | https://energysmartyes.com/rebates-financing/louisville/#1698358145870-800db7a3-f169
Government | City of Louisville | Louisville, in addition to Xcel and Boulder County incentives | Heat Pump | Tier 1 ASHP | 250 |  | https://energysmartyes.com/rebates-financing/louisville/#1698358145870-800db7a3-f169
Government | City of Louisville | Louisville, in addition to Xcel and Boulder County incentives | Heat Pump | Tier 2 ASHP | 400 |  | https://energysmartyes.com/rebates-financing/louisville/#1698358145870-800db7a3-f169
Government | City of Louisville | Louisville, in addition to Xcel and Boulder County incentives | Heat Pump Water Heater |  | 250 | Energy Star rated | https://energysmartyes.com/rebates-financing/louisville/#1698358145870-800db7a3-f169
Government | City of Louisville |  | Induction Cooking |  | 150 | must be replacing gas stove
Utility | Colorado Springs Utilities | Colorado Springs | Energy Efficiency Improvements | insulation | $750 for attic, $750 for wall | R-49 attic, R-13 ext. wall. | https://www.csu.org/Pages/Insulation.aspx
Utility | Colorado Springs Utilities | Colorado Springs | Heat Pump | Tier 1 HP | 1000 | Energy Star rated | https://www.csu.org/Pages/Furnace.aspx
Utility | Colorado Springs Utilities | Colorado Springs | Heat Pump | Tier 2, cold-climate HP | 2000 | listed on NEEP cold-climate HP list | https://www.csu.org/Pages/Furnace.aspx
Utility | Colorado Springs Utilities | Colorado Springs | Heat Pump Water Heater |  | 750 | Energy Star rated | https://www.csu.org/Pages/WaterHeater.aspx
Government | CORE (Community Office for Resource Efficiency) | Eagle and Pitkin County in Roaring Fork Valley (Aspen to Glenwood Springs) - in addition to Holy Cross incentives | Energy Efficiency Improvements | energy audit | free |  | https://www.aspencore.org/funding-criteria
Government | CORE (Community Office for Resource Efficiency) | Eagle and Pitkin County in Roaring Fork Valley (Aspen to Glenwood Springs) - in addition to Holy Cross incentives | Energy Efficiency Improvements | insulation and air sealing | 50% of project cost up to $7500, up to $15,000 for Community Priority participants (< 150% AMI) |  | https://www.aspencore.org/funding-criteria
Government | CORE (Community Office for Resource Efficiency) | Eagle and Pitkin County in Roaring Fork Valley (Aspen to Glenwood Springs) - in addition to Holy Cross incentives | Heat Pump | Tier 2 ASHP, ducted or ductless | 50% of project cost up to $7500, up to $15,000 for Community Priority participants (< 150% AMI) |  | https://www.aspencore.org/residential-rebates
Government | CORE (Community Office for Resource Efficiency) | Eagle and Pitkin County in Roaring Fork Valley (Aspen to Glenwood Springs) - in addition to Holy Cross incentives | Heat Pump Water Heater |  | 50% up to $7500 | Energy Star certified | https://www.aspencore.org/residential-rebates
Utility | Efficiency Works |  | Energy Efficiency Improvements | air sealing | up to $770 for air leakage reduction | Can use qualified contractor or can provide receipt for unit using public portal
Utility | Efficiency Works |  | Heat Pump | Ducted ASHP Tier 1 | 1500 | SEER 16.0+, HSPF 9.0+; must be AHRI matched, with changeover temperature < 35 degrees F; must use Efficiency Works-approved contractor | https://efficiencyworks.org/homes/rebates/
Utility | Efficiency Works |  | Heat Pump | Ducted ASHP Tier 2 (cold-climate) | 2000 | SEER 16.0+, HSPF 9.5+; must be AHRI matched, changeover temperature > 5 degrees F; must be cold-climate certified by NEEP, AHRI, CEE, or Energy Star; must use Efficiency Works-approved contractor. | https://efficiencyworks.org/homes/rebates/
Utility | Efficiency Works |  | Heat Pump | Ductless ASHP Tier 1 | 0 |  | https://efficiencyworks.org/homes/rebates/
Utility | Efficiency Works |  | Heat Pump | Ductless ASHP Tier 2 | $500/ton | SEER 21.0+, HSPF 9.5+; must be AHRI matched and cold-climate certified by NEEP, AHRI, CEE, or Energy Star; must use Efficiency Works-approved contractor. | https://efficiencyworks.org/homes/rebates/
Utility | Efficiency Works |  | Energy Efficiency Improvements | energy audit | total cost of $60 | must use qualified contractor | https://efficiencyworks.org/homes/efficiency-audits/
Utility | Efficiency Works |  | Heat Pump | GSHP |  | EER 16.1+, COP 3.1+
Utility | Efficiency Works |  | Energy Efficiency Improvements | insulation | $1.16/sq.ft. | Can use qualified contractor or can provide receipt for unit using public portal | https://efficiencyworks.org/homes/rebates/ https://efficiencyworks.org/wp-content/uploads/Retail-Products-Electric-Rebates-1.2024-2.pdf
Utility | Efficiency Works |  | Heat Pump Water Heater |  | 800 | Energy Star, UEF 3.3+; must use Efficiency Works-approved contractor. | https://efficiencyworks.org/homes/rebates/
Utility | Efficiency Works |  | Heat Pump Water Heater |  | 900 | Energy Star, UEF 3.3+, communication control - CTA-2045 certified, connected with eligible HPWH; must use Efficiency Works-approved contractor | https://efficiencyworks.org/homes/rebates/
Utility | Glenwood Springs Electric | Glenwood Springs | Energy Efficiency Improvements | air sealing and insulation | 50% up to $1,000 |  | https://www.cogs.us/DocumentCenter/View/9047/Glenwood-Springs-Electric-2023-Rebates-Flyer-PDF
Utility | Glenwood Springs Electric | Glenwood Springs | Heat Pump | ducted or ductless HP | 50% up to $2,000 | additional rebates for higher efficiency, cold-climate HPs | https://www.cogs.us/DocumentCenter/View/9047/Glenwood-Springs-Electric-2023-Rebates-Flyer-PDF
Utility | Glenwood Springs Electric | Glenwood Springs | Heat Pump Water Heater |  | 50% up to $1,000 |  | https://www.cogs.us/DocumentCenter/View/9047/Glenwood-Springs-Electric-2023-Rebates-Flyer-PDF
Utility | Gunnison County Electric |  | Heat Pump | Tier 1 ASHP | same as Tri-State default
Utility | Gunnison County Electric |  | Heat Pump | Tier 2 ASHP | $1,000/ton up to 5 tons; $5000/ton for additional capacity over 5 tons, up to 50% of equipment cost
Utility | Gunnison County Electric |  | Heat Pump |  | also, low-income bonus rebates*
| Gunnison County Electric |  | Energy Efficiency Improvements | insulation | $500; additional $1,000 if paired with ASHP within 90 days of installation; financing of up to $75,000 at 4-5% interest | must participate in on-bill repayment program to qualify for rebates.
Utility | Holy Cross Energy | Eagle, Garfield, Pitkin, Gunnison & Mesa counties | Energy Efficiency Improvements | air sealing | 25% of total project cost, up to $3,000 per year; 50% of project cost up to $7,500 per year for income qualifying tier (< 150% of AMI) | Electrically heated buildings only, Air sealing must be completed before adding insulation, blower door test required. | https://www.holycross.com/wp-content/uploads/2024/03/HCE_RebatesRules2024_Updated-3-11-2024.pdf
Utility | Holy Cross Energy | Eagle, Garfield, Pitkin, Gunnison & Mesa counties | Heat Pump | ducted HP | 25% of total project cost, up to $3,000 per year; 50% of project cost up to $7,500 per year for income qualifying tier (< 150% of AMI) | HSPF2 8.1+, COP 1.75+ at 5 F, rated to 5 F (climate zone 5) or -5 F (climate zones 6,7) | https://www.holycross.com/wp-content/uploads/2024/03/HCE_RebatesRules2024_Updated-3-11-2024.pdf
Utility | Holy Cross Energy | Eagle, Garfield, Pitkin, Gunnison & Mesa counties | Heat Pump | ductless HP | 25% of total project cost, up to $3,000 per year; 50% of project cost up to $7,500 per year for income qualifying tier (< 150% of AMI) | HSPF2 9.5+, COP 1.75+ at 5 F, rated to 5 F (climate zone 5) or -5 F (climate zones 6,7) | https://www.holycross.com/wp-content/uploads/2024/03/HCE_RebatesRules2024_Updated-3-11-2024.pdf
Utility | Holy Cross Energy |  |  | EV Charging | $549 Rebate - Eligible Chargers Only; optional 3-year on-bill repayment for Installation and labor costs | Must install, activate and enroll in Charge at Home program | https://www.holycross.com/programs-overview/
Utility | Holy Cross Energy | Eagle, Garfield, Pitkin, Gunnison & Mesa counties | Energy Efficiency Improvements | insulation | 25% of total project cost, up to $3,000 per year; 50% of project cost up to $7,500 per year for income qualifying tier (< 150% of AMI) | Electrically heated buildings only, Air sealing must be completed before adding insulation, blower door test required. | https://www.holycross.com/wp-content/uploads/2024/03/HCE_RebatesRules2024_Updated-3-11-2024.pdf
Utility | Holy Cross Energy | Eagle, Garfield, Pitkin, Gunnison & Mesa counties | Heat Pump Water Heater |  | 25% of total project cost, up to $3,000 per year; 50% of project cost up to $7,500 per year for income qualifying tier (< 150% of AMI) | Energy Star rated | https://www.holycross.com/wp-content/uploads/2024/03/HCE_RebatesRules2024_Updated-3-11-2024.pdf
Utility | Holy Cross Energy |  | Induction Cooking |  | 25% Total Project cost up to $3000; 50% Total Project Cost up to $7500 for income-qualifying tier (<150% of AMI) | none
Utility | La Plata Electric |  | Extra Electrification | EV Charging | 1. Free Level 2 charger; Up to $500 for plug installation, up to 50% of costs before tax | Maintain WiFi connection and active connection to LPEA program | https://lpea.coop/residential-ev-charger-rebates
Utility | La Plata Electric |  |  | EV Charging | 2. Purchase own smart charger; 50% of cost of Level 2 smart charger plus installation (up to $125 for charger and $125 for installation) | Must be a smart charger; cords do not qualify | https://lpea.coop/residential-ev-charger-rebates
Utility | La Plata Electric |  |  | Induction Cooking | 100 | Electric-Induction Replacement | https://lpea.coop/cooktop
Utility | La Plata Electric |  |  | Induction Cooking | 350 | Gas-Induction Replacement or new construction; must be 30" or larger | https://lpea.coop/cooktop
Utility | La Plata Electric Assoc. |  | Heat Pump | Tier 1 ASHP | $350/ton up to 5 tons; $175/ton for additional capacity over 5 tons, up to 50% of equipment cost |  | https://lpea.coop/heat-pump-rebatesmini-split-system-rebates
Utility | La Plata Electric Assoc. |  | Heat Pump | Tier 2 ASHP | $750/ton up to 5 tons; $350/ton for additional capacity over 5 tons, up to 50% of equipment cost
Utility | La Plata Electric Assoc. |  | Heat Pump Water Heater |  | 700 | Energy Star rated, min. 30-gal. capacity | https://lpea.coop/heat-pump-water-heater-rebates
Utility | Mountain View Electric Assoc. |  |  |  | Tri-State default rebates, with low-income bonus*
Utility | Poudre Valley REA |  | Heat Pump | Tier 1 ASHP | $300/ton up to 5 tons; $125/ton for additional capacity over 5 tons, up to 50% of equipment cost$50/ton
Utility | Poudre Valley REA |  | Heat Pump | Tier 2 ASHP | $600/ton up to 5 tons; $250/ton for additional capacity over 5 tons, up to 50% of equipment cost
Utility | San Isabel Electric Assoc. |  | Heat Pump | Tier 1 ASHP | $350/ton up to 5 tons; $125/ton for additional capacity over 5 tons, up to 50% of equipment cost$50/ton
Utility | San Isabel Electric Assoc. |  | Heat Pump | Tier 2 ASHP | $600/ton up to 5 tons; $250/ton for additional capacity over 5 tons, up to 50% of equipment cost
Utility | San Luis Valley REC |  | Heat Pump |  | Tri-State default rebates, with low-income bonus*
| San Luis Valley REC |  | Energy Efficiency Improvements | insulation | $500; additional $1,000 if paired with ASHP within 90 days of installation; financing of up to $75,000 at 4-5% interest | must participate in on-bill repayment program to qualify for rebates.
Utility | San Miguel Power Assoc. |  | Heat Pump | Tier 1 ASHP | 0
Utility | San Miguel Power Assoc. |  | Heat Pump | Tier 2 ASHP | $500/ton up to 5 tons; $250/ton for additional capacity over 5 tons, up to 50% of equipment cost
Utility | Sangre de Criso Electric Assoc. |  | Heat Pump |  | Tri-State default rebates with low-income bonus*
| Sangre de Criso Electric Assoc. |  | Energy Efficiency Improvements | insulation | $500; additional $1,000 if paired with ASHP within 90 days of installation; financing of up to $75,000 at 4-5% interest | must participate in on-bill repayment program to qualify for rebates.
Utility | Tri-State member Co-ops |  | Heat Pump | air-water HP | $450/ton
Utility | Tri-State member Co-ops |  | Heat Pump | Tier 1 ASHP | $250/ton up to 5 tons; $125/ton for additional capacity over 5 tons, up to 50% of equipment cost | HSPF2 7.8+ |  | Tri-State member Co-ops: (note: these rebates and requirements apply to all member co-ops, including: (list the default ones here*). The below Tri-State members have the different/higher rebates specified below.)
Utility | Tri-State member Co-ops |  | Heat Pump | Tier 2 ASHP | $500/ton up to 5 tons; $250/ton for additional capacity over 5 tons, up to 50% of equipment cost | ducted HSPF2 8.2+; ductless HSPF2 8.5+; for both: COP 1.75+ at 5 F and 70% of capacity at 5 F compared to 47 F
Utility | Tri-State member Co-ops |  | Heat Pump Water Heater |  | 350 | Energy Star rated
Utility | United Power | Weld County | Heat Pump | ducted HP | $1,000 for 2 tons or less; $2,000 > 2 tons | HSPF2 8.1+, SEER2 15.2+ | https://www.unitedpower.com/heat-pumps
Utility | United Power | Weld County | Heat Pump | ductless HP | $1,000 for 2 tons or less; $2,000 > 2 tons | HSPF2 8.5+ | https://www.unitedpower.com/heat-pumps
Utility | United Power | Weld County | Heat Pump Water Heater |  | 300 | UEF 3.30+ | https://www.unitedpower.com/water-heaters
Government | Walking Mountain Science Center | Eagle County (except for Roaring Fork Valley) - in addition to incentives from Holy Cross | Energy Efficiency Improvements | insulation and air sealing | 25% of total project cost, max $1,000 per year (for all projects combined) - rebate funds limited annually. | Air sealing must be completed before adding insulation, blower door test required. Home Energy Assessment required and available at a low-cost. | https://www.walkingmountains.org/sustainability-hub/energy-efficiency-programs/rebates-incentives/
Government | Walking Mountain Science Center | Eagle County (except for Roaring Fork Valley) - in addition to incentives from Holy Cross | Heat Pump | Tier 2 - ducted or ductless cold-climate HP | 25% of total project cost, max $1,000 per year (for all projects combined) - rebate funds limited annually. | Same as Holy Cross requirements; Home Energy Assessment required and available at a low-cost. | https://www.walkingmountains.org/sustainability-hub/energy-efficiency-programs/rebates-incentives/
Government | Walking Mountain Science Center | Eagle County (except for Roaring Fork Valley) - in addition to incentives from Holy Cross | Heat Pump Water Heater |  | 25% of total project cost, max $1,000 per year (for all projects combined) - rebate funds limited annually. | Energy Star certified. Home Energy Assessment required and available at a low-cost. | https://www.walkingmountains.org/sustainability-hub/energy-efficiency-programs/rebates-incentives/
Utility | Xcel Energy |  | Energy Efficiency Improvements | air sealing | 45% up to $1,000 | reduce NACH50 by at least 20%; must use Xcel-approved contractor | https://co.my.xcelenergy.com/s/residential/home-rebates/insulation-air-sealing
Utility | Xcel Energy |  | Heat Pump | Air-to-water HP
Utility | Xcel Energy |  | Energy Efficiency Improvements | attic insulation | 45% up to $1250 | pre-job r-value of less than 15, post - 49+; must use Xcel-approved contractor
Utility | Xcel Energy | Denver area (and other scattered areas) | Heat Pump | Ducted ASHP Tier 1 | $900 per cooling ton | 15.2+ SEER2, 11.7+ EER2, 7.8+ HSPF2 with Quality Installation; must use Xcel-approved contractor | https://co.my.xcelenergy.com/s/residential/heating-cooling/heat-pumps
Utility | Xcel Energy |  | Heat Pump | Ducted ASHP Tier 2 (cold-climate) | $2,250 per heating ton at 5 F | 18+SEER2, 11.7+ EER2, 8.1+ HSPF2 with Quality Installation; listed on NEEP cold-climate list; heating capacity at 5°F/capacity at 47°F > 70%; must use Xcel-approved contractor. | https://co.my.xcelenergy.com/s/residential/heating-cooling/heat-pumps
Utility | Xcel Energy |  | Heat Pump | Ductless ASHP Tier 1 | $900 per cooling ton | 15.2+ SEER2, 11.5+ EER2, 7.8+ HSPF2 | https://co.my.xcelenergy.com/s/residential/heating-cooling/heat-pumps
Utility | Xcel Energy |  | Heat Pump | Ductless ASHP Tier 2 | $2,250 per heating ton at 5 F | 18+ SEER2, 11.5+ EER2, 8.5+ HSPF2; see additional ccASHP requirements above | https://co.my.xcelenergy.com/s/residential/heating-cooling/heat-pumps
Utility | Xcel Energy |  | Energy Efficiency Improvements | Energy audit | ? | use qualifying contractor
Utility | Xcel Energy |  |  | EV Charging | free charger setup and maintenance | participate in "EV accelerate at home" charging schedule, rates | https://ev.xcelenergy.com/ev-charging-programs
Utility | Xcel Energy |  | Heat Pump | GSHP | $3300 per heating ton | 16+ EER2, 3.3+COP
Utility | Xcel Energy |  | Energy Efficiency Improvements | wall insulation | 45% up to $875 | pre-job - empty wall, post - r-value of 13+; must use Xcel-approved contractor | https://co.my.xcelenergy.com/s/residential/home-rebates/insulation-air-sealing
Utility | Xcel Energy |  | Heat Pump Water Heater |  | 2250 | less than 80 gal., listed on AHRI list (search for HPWHs): https://www.ahridirectory.org/Search/SearchHome?ReturnUrl=%2f; must use Xcel-approved contractor | https://co.my.xcelenergy.com/s/residential/home-rebates/water-heaters
Utility | Xcel Energy |  | Induction Cooking |  | 50 | none
Utility | YW Electric Assoc. |  | Heat Pump | Tier 1 ASHP | $100 per heat pump (any size) plus $250/ton up to 5 tons; $125/ton for additional capacity over 5 tons, up to 50% of equipment cost
Utility | YW Electric Assoc. |  | Heat Pump | Tier 2 ASHP | $100 per heat pump (any size) plus $5000/ton up to 5 tons; $250/ton for additional capacity over 5 tons, up to 50% of equipment cost |  |  | *Tri-State low-income bonus rebates for heat pumps are as follows. a) for housholds 51-80% of Average median income, rebate is $375/ton for Tier 1, $750/ton for Tier 2; b) for households less than 50% of AMI, rebate is $500/ton for Tier 1, $1,000/ton for Tier 2.